DUSSIN QUALITY HOMES

PARK TOWN EAST

STANDARD APPENDIX “A”

EXTERIOR SPECIFICATIONS

- Upgraded 30 Year warranty shingles being self sealing asphalt

- Clay Brick exterior cladding

- Pre cast window sills on all door and widows

- Address stone above the garage doors

- Steel sectional garage doors being rolled up

- Reinforced poured concrete porches and garage floors with steel bars

- LOW “E” Maintenance free Energy Star rated vinyl clad windows with screens on all openings

- Casement windows on front and side elevations (except basement)

- Maintenance free aluminum soffit, eaves, fascia and down spouts

- Single front door with side light as per plan (double sided units with wraparound porch)

- Sidewalk slabs from front door to the driveway

- Metal insulated, non-warp entry door and weather-stripping on all exterior doors

- Garage to house door with safety self closure on hinges (grades permitting)

- All exterior windows and doors are caulked and completed with weather-stripping

- Driveway to be the width of the garage

- Lot graded and fully sodded and approved by the Grading Engineer and the City of Hamilton.

- Two exterior GFI electrical outlets, one in the front and one at the rear

- Two exterior water taps with back-flow preventor, one in the garage and one outside

- All 5/8” tongue and groove floor sheathing to be glued or screwed and nailed down

- Floor joists and wall studs to be kiln dried for less shrinkage

- Energy saving  R20 insulation on all exterior walls with vapor barrier (as a minimum)

- All ceiling to be R 40 blown in place insulation with vapor barrier

BASEMENT, HEATING AND ELECTRICAL SPECIFICATIONS

- Basement wall insulation to have a minimum of R12 insulation, to 6” above concrete slab

- Concrete basement walls to have heavy duty blanket wrap, damp proofing and weeping tiles on the exterior

- Concrete basement walls to also have a Dussin Quality Homes exclusive interior barrier on exterior walls.

- Single laundry tub in the laundry room area, with a primer to the basement floor drain

- Rough-in duct work for central Air-Conditioning

- Rough-in pipes and wires for the Central Vacuum System

- A total of 6 cable, telephone, and data outlets

- Opportunity to arrange locations for T.V., phone, networking etc. with a Home Entertainment Technician at framing stage.

- High Efficiency forced air Gas Furnace with intake to exterior

- Ground fault interrupter protection in all bathroom outlets, outlet closest to the kitchen sink, and outdoor outlets for your protection

- Exhaust fan vented to the outside in all bathrooms

- Exhaust fan with light over the stove vented to the outside

- 50 Gal. rental Hot Water Heater

- 100 Amp labeled Electrical circuit breaker panel to the electrical safety authority standards with all copper wiring throughout the home

- Heavy duty plug receptacle for the kitchen range in the kitchen

- Heavy duty plug receptacle and exterior vent for the dryer in the laundry area

- Front door chime

- Installed water connection, drain and electrical line with separate circuit breaker supplied for the automatic washer and dishwasher locations

- Zero clearance direct vent gas fireplace with an oak or painted mantle (with fireplace option)

- Light fixtures at all exterior doors

- PEX or KITEC water lines and ABS plumbing pipes throughout using lead-free on all copper pipes

- Dedicated electrical outlet for the refrigerator

- Outlet on the ceiling of the garage for future garage door opener

- Upgraded light fixtures throughout

- Steel Beam construction in the basement	 and main floor

FINISH SPECIFICATIONS

- Low consumption water saving toilets

- Oak faced Kitchen and Vanity cabinets where applicable with adjustable shelving (to be selected from Builders’ samples)

- One Piece Acrylic Tub and Shower units for easy cleaning and maintenance free (unless tiled shower option selected)

- All bathroom sinks and tubs to have pop-up drains instead of a rubber stopper

- Strip lights above all vanities

- Interconnected Smoke Detectors on each floor and a Carbon Monoxide Detector at the bedroom areas, for you family’s protection

- Ceramic floors in all bathrooms, kitchen, entrance, dinette, and main floor hall ways with concrete and mesh underlay.

- Double stainless steel sink in the kitchen, with a single leaver faucet

- Painted Colonial 800 series interior doors

- Painted large 2 3/4" colonial casing

- Painted large 4 1/4 " baseboards

- Interior trim and interior doors to be finished in semi-gloss paint

- All closet doors to be swinging type doors (not by-folds)

- Solid oak handrails and spindles where applicable

- All drywall to be applied with screws and a minimum number of nails

- Resilient channels installed on all Truss Ceilings to minimize ceiling edge cracking

- Interior walls to be painted with premium latex paint

- Garage comes with full drywall and taping of joints ready for painting

- California ceilings (Knock-Down) throughout, except flat in the kitchen, dinette and bathrooms

- 39.5 ounce Broadloom or Berber with upgraded under padding provided in non-ceramic areas

- Purchaser has the choice of interior paint color to be selected from the builders’ samples

- 30" x30" crystal Mirror above all bathroom sinks

- Arborite or Formica counter tops in the kitchen and all vanities

- Polished brass finish hardware on all doors throughout interior of unit

- All showers, bathtub units, vanity sinks, and kitchen sink to be provided with Delta single lever faucets

- Pressure balanced temperature control valves in all showers

- Privacy locks on all bathroom doors.

- Ceramic bathroom accessories to include towel bar holder, and toilet tissue dispenser

- All construction according to the Ontario Building Codes

- Up to 2 hours with an Interior Decorator to do your home’s selections

- Purchaser’s choice of colors and materials from builders’ samples if not yet ordered or installed, provided that colors and materials are available from supplier and purchaser agrees to select the colors and materials in fourteen (14) days after acceptance of the offer by the vendor, otherwise the vendor reserves the right to choose the colors and materials to complete the dwelling and the purchaser agrees to close the transaction with the vendor's choice of colors and materials

- All plans and specifications are subject to modification from time to time at the sole discretion of the vendor.

- The vendor reserves the right to change the foregoing specifications without notice provide such changes are with equal of better materials

WARRANTY:

- DUSSIN QUALITY HOMES Exclusive Quality-Control Inspection Program performed with the purchaser before moving into their unit.

- DUSSIN QUALITY HOMES warranty is backed by TARION Warranty Corporation

- “Excellent Service Rating” includes;

*The home is free from defects in workmanship and materials for one (1) year

*The home is free of defects in workmanship and materials on electrical, plumbing, heating delivery and distribution systems, exterior cladding, caulking, windows, doors, and the building envelope and basement remains free from water penetration for two (2) years

*The home is warranted against major structural defects for seven (7) years

PRICE, TERMS, CONDITIONS, AND SPECIFICATIONS ARE SUBJECT TO CHANGE WITHOUT NOTICE

E & OE.

February 7, 2011